## Slide 1
HMI Design: Your First WinCC TIA Portal Project A step-by-step guide to creating HMI projects with Siemens Comfort Panels and PC Runtime Advanced applications.

## Slide 2
Table of Contents
01
Igniting Innovation: HMI Project Foundation
02
Comfort Panel Configuration Unveiled
03
Navigating the Project Landscape
04
Network Configuration Essentials
05
PC Runtime Application Integration
06
RT Advanced vs. RT Professional
07
Communication Module Setup
08
HMI Project Benefits
09
Key Takeaways
10
Thank You

## Slide 3
1
Igniting Innovation: HMI Project Foundation
Begin by naming your project within the WinCC TIA Portal. Selecting 'create' establishes your HMI environment, setting the stage for efficient development. Choosing the right device is paramount. Start with a Siemens Comfort Panel, carefully selecting the optimal size and type for peak performance. Adding devices demands precision. Understanding part numbers and descriptions ensures effective HMI project management and customization. Creating your first HMI project involves selecting appropriate devices and configuring them in the software environment. WinCC TIA Portal used for creating HMI (Human Machine Interface) projects for industrial automation systems. Allows design and configuration of operator interfaces.

## Slide 4
2
Comfort Panel Configuration Unveiled
Rename your Siemens TP 700 Comfort panel. This step ensures clarity and organization within your growing HMI project. Access the project view to kickstart screen development. This comprehensive overview allows efficient screen design and application management. Configure the Ethernet address for seamless communication. Proper network integration is critical for real-time data exchange and control. Add a PC runtime application for expanded functionality. This integration optimizes your HMI for diverse operational requirements. You configure a Siemens Comfort panel through the TIA Portal, including setting its IP address and configuring screen resolution.

## Slide 5
3
Navigating the Project Landscape
Expand the project tree to reveal available editors and screens. This step allows seamless addition of new screens to your application. Switching to project view enables a comprehensive overview of the HMI screen, allowing for efficient screen development and management. Project view provides a central hub for all development activities, enhancing productivity and streamlining the design process. Expanding the project tree reveals various editors and screens, facilitating the addition of new screens to the application seamlessly. A PC-based runtime application can be added into a project by selecting the appropriate HMI configuration and setting up communication modules.

## Slide 6
4
Network Configuration Essentials
Change the IP address of your HMI device. Correct configuration is crucial for network communication within the broader automation system. Configuring the Ethernet port includes changing the IP address of the HMI device, which is crucial for network communication within the system. The right choice ensures effective data transmission. Setting up the communication module is essential for proper network integration. Configuring the Ethernet port includes changing the IP address of the HMI device, which is crucial for network communication within the system. The right choice ensures effective data transmission. Setting up the communication module is essential for proper network integration.

## Slide 7
5
PC Runtime Application Integration
Select the appropriate HMI configuration for your PC-based runtime application. This step tailors the application to your specific needs. Set up communication modules to ensure seamless data exchange. Proper setup guarantees optimal application performance. This process ensures the application is optimized for the intended use case, enhancing overall efficiency and effectiveness. Setting up the communication module is essential for proper network integration, with options such as profile Ethernet or standard Ethernet interfaces. A PC-based runtime application can be added into a project by selecting the appropriate HMI configuration and setting up communication modules.

## Slide 8
6
RT Advanced vs. RT Professional
Choosing between HMI application types is crucial. Align your selection with the project's intended functionality and scope. Opt for RT advanced for standard HMI applications. This choice is suitable for projects with typical visualization and control requirements. Select RT professional for SCADA applications. This option caters to projects with complex data management and supervisory control needs. Choosing between HMI application types is crucial, with options like RT advanced for HMI or RT professional for SCADA applications. Choosing between HMI application types is crucial, with options like RT advanced for HMI or RT professional for SCADA applications.

## Slide 9
7
Communication Module Setup
Setting up the communication module is essential for proper network integration. This ensures seamless data transmission and control. Consider profile Ethernet interfaces for specialized communication needs. This option provides advanced control and data exchange capabilities. Utilize standard Ethernet interfaces for common network connections. This option offers broad compatibility and ease of integration. Setting up the communication module is essential for proper network integration, with options such as profile Ethernet or standard Ethernet interfaces. The right choice ensures effective data transmission. Setting up the communication module is essential for proper network integration.

## Slide 10
8
HMI Project Benefits
Streamlining operations and improving overall efficiency. A well-designed HMI optimizes workflow and reduces downtime. Providing real-time data visualization for informed decision-making. Access to timely information enhances situational awareness. Driving increased productivity and reducing operational costs. An effective HMI empowers operators to perform tasks efficiently. Creating your first HMI project involves selecting the appropriate devices and configuring them in the software environment. The right choice ensures effective data transmission. Setting up the communication module is essential for proper network integration.

## Slide 11
9
Key Takeaways
Configuring the HMI device in the software. Choosing the appropriate panel and setting up its Ethernet address are crucial. Selecting the appropriate application type. Understanding the differences between RT Advanced and RT Professional is essential. Ensuring proper network integration. Selecting and configuring the communication module is critical for data transmission. Creating your first HMI project involves selecting appropriate devices and configuring them in the software environment. The right choice ensures effective data transmission. Setting up the communication module is essential for proper network integration.

## Slide 12
10
Thank You
Thank you for your attention. We hope this presentation has provided valuable insights into creating WinCC TIA Portal HMI projects. We encourage you to continue exploring the possibilities of HMI design and automation. The journey of learning is never-ending. Please explore our website and documentation for additional information and support. We are here to assist you in your endeavors. The initial step includes naming your project and selecting the 'create' button to set up the HMI environment. Configuring the Ethernet port includes changing the IP address of the HMI device, which is crucial for network communication within the system.