## Slide 1
Industrial Training Report Quality Control Department

## Slide 2
Table of Contents
01
Industrial Training Report
02
About Cropel Lifesciences Pvt. Ltd.
03
Objectives of Industrial Training
04
About Quality Control (QC)
05
QC Laboratory Layout & Safety
06
Instruments Used in QC
07
Tests Performed
08
Example: Assay by HPLC
09
Good Laboratory Practices (GLP)
10
Documentation & Record Maintenance
11
Challenges Faced During Training
12
Learning Outcomes

## Slide 3
1
Industrial Training Report
Presented by: Padsala Bansi Sanjaybhai Sal Institute of Pharmacy Quality Control Department Cropel Lifesciences Pvt. Ltd. Training Duration: 15/09/2025 – 04/10/2025

## Slide 4
2
About Cropel Lifesciences Pvt. Ltd.
Established company in the pharmaceutical and life sciences sector. Focused on producing quality medicines and healthcare products. Committed to innovation, safety, and patient well-being. Pharmaceuticals and life sciences expertise Dedicated to quality and safety standards

## Slide 5
3
Objectives of Industrial Training
Gain real-world experience in the Quality Control (QC) department. Understand laboratory practices and documentation procedures. Learn about testing methods and quality standards. Exposure to pharmaceutical manufacturing processes Develop practical skills in quality control

## Slide 6
4
About Quality Control (QC)
QC ensures the safety, purity, and quality of products before release. It involves chemical, physical, and microbiological testing. QC is a key department in every pharmaceutical company. Crucial for product safety Testing raw materials and finished products

## Slide 7
5
QC Laboratory Layout & Safety
Separate areas for chemical, instrumental, and microbiology sections. Strict adherence to lab safety rules: lab coat, gloves, goggles. Proper waste disposal and instrument maintenance. Organized lab for efficient testing Following safety guidelines

## Slide 8
6
Instruments Used in QC
High-Performance Liquid Chromatography (HPLC). UV–Visible Spectrophotometer. pH Meter and Analytical Balance. Dissolution and Disintegration Test Apparatus. Essential analytical tools

## Slide 9
7
Tests Performed
Identification tests to verify raw materials. Assay tests to determine drug content. Dissolution and uniformity tests for tablets. Documentation of all results in logbooks. Verifying quality at each stage

## Slide 10
8
Example: Assay by HPLC
Prepare sample and standard solutions. Inject into HPLC system and record chromatogram. Compare sample peak area with standard to calculate assay. Ensure accuracy and precision of results. Quantifying drug concentration

## Slide 11
9
Good Laboratory Practices (GLP)
Follow SOPs for every test and procedure. Maintain cleanliness and calibration of instruments. Ensure data integrity and traceability. Wear proper protective gear at all times. Following the guidelines

## Slide 12
10
Documentation & Record Maintenance
All tests are recorded in controlled notebooks. Reports must be reviewed and signed by supervisors. Data must be traceable and stored safely. Ensures transparency during audits. Maintaining accurate records

## Slide 13
11
Challenges Faced During Training
Understanding complex instruments like HPLC. Learning proper sample preparation techniques. Maintaining accuracy in documentation. Adapting to a professional laboratory environment. Overcoming learning curves

## Slide 14
12
Learning Outcomes
Improved practical knowledge of analytical techniques